| 1) Inspector Name: Mr. Masoud Khalili (on behalf of Mr. Amin Sharitkhah) Inspector Code: 1574 |  | 2) Inspection Date: 18/06/2025 |  |  |  | 3) Project Name (if any): |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4) Scope of Inspection Required: Visual, Packing, document review Inspection Notification No.: |  |  |  |  |  |  |  |
| 5) Inspection Address & Contact Info: Company Name: Sespi Address: Via Tre Venezie, 15, 26010 Casaletto Vaprio CR Contact Name: Giovanni Celentano , Phone Number/Mobile Number: (+39) 025063065 E-mail Address: giovanni.celentano@sespi.it |  |  |  |  |  |  |  |
| 6) Inspection Place: Manufacturer Supplier Warehouse Port Customs Others Specify: |  |  |  |  |  |  |  |
| 7) Client/Buyer: SIRAF ENERGY INVESTMENT CO. |  |  |  | 8) Vendor/Sub-Vendor: -PENDAR -Sespi |  |  |  |
| 9) Goods as Per Purchasing Documents: - UNIT LOCAL CONTROL PANEL (LCP-PK-2205, S/N. B335201), Qty.: 1 - SETS RECTIFIER (EE-REC-2205A, S/N: 04919-1 & EE-REC-2205B, S/N: 04919-2), Qty.: 2 |  |  |  |  |  |  |  |
| 10) Quality Inspection: |  |  |  |  |  |  |  |
| Visual | Dimensional check |  | Test |  | Doc’s Review |  |  |
| %100 Spot Check | %100 Spot Check |  | %100 Spot Check |  |  |  |  |
| Random No. of Items Checked: | Random No. of Items Checked: |  | Random No. of Items Checked: |  |  |  |  |
| 11) Quantity Inspection: |  |  |  |  |  |  |  |
| Tally | Weight |  | Volume |  | Length |  | Others (Specify) |
| %100 Spot Check | %100 Spot Check |  | %100 Spot Check |  | %100 Spot Check |  |  |
| Random No. of Items Checked: | Random No. of Items Checked: |  | Random No. of Items Checked: |  | Random No. of Items Checked: |  |  |
| 12) Brief Description of Packing: Kind of Packing: Total Number of Packages: Total Net weight: Total Gross weight: |  |  | 13) Shipping Mark: Packing and Shipping marks were not ready at the time of inspection. Only the bottom part of the wooden box for rectifier was ready. Packing list was not provided by vendor. |  |  |  |  |
| 14) Means of Transport: Truck Vessel Air Rail Combined Shipment From: Via: To: |  |  |  |  |  |  |  |
| 15) Conclusion (Explain Briefly): Stage (Inspection of the goods in this visit is satisfactory. Goods are released for further inspection) Satisfactory (Inspection of the goods is satisfactory. Goods are released for shipment) Non-Conformity (Discrepancies observed. Goods could not be released) Abortive (Due to missing goods and/or documents, inspection could not be carried out) Inspection completed? No Yes When No, specify next insp. scope: |  |  |  |  |  |  |  |
| 16) Documents Used for Inspection: L/C No.:; No. of L/C Amendments:; P/I No.:. Tech. Spec. No.: 1277-74002-SES-LI-4-EEE-30002 1277-74002-SES-SP-4-EJJ-40002; P/O No. / MR No.:; ITP No.: 1277-74002-SES-SC-4-QC-77000. Drawing No.:; Procedure No.: 1277-74002-SES-PR-4-QC-77013 packing marking; Data Sheet No.:. Others:; PL:. Necessary Documents for Issuance of COI Has Been Collected: Yes No. |
| 17) Goods Inspected in Details: - UNIT LOCAL CONTROL PANEL (LCP-PK-2205, S/N. B335201), Qty.: 1 - SETS RECTIFIER (EE-REC-2205A, S/N: 04919-1 & EE-REC-2205B, S/N: 04919-2), Qty.: 2 |  |  |  |  |  |  |  |
| 18) Order Completed? Yes No Comments (If any): |  |  |  |  |  |  |  |

| 19) Quality Inspection (Detailed description of quality inspection and assessment of quality control): |  |  |
| --- | --- | --- |
|  Visual & Dimensional Check Products were identified based on the nameplates, project number and serial number based on the documents from previous inspections. All the equipment was unused new without any defect.  Review Certificate & Test Report The following documents were provided by the vendor and checked which are attached: - Inspection and test report, and FAT certificate for the control panel - Rectifier Test report and Wiring and Terminal Strip for E.C. Package (PK-2205) Packing list was not provided by the vendor. |  |  |
| 19-1) Marking on Goods as per specific requirements: |  |  |
| Goods were identified based on nameplates and conformed. |  |  |
| 19-2) Instruments Used (Meter, Slide Caliper ,Gauge,…) and Calibration Code/Date: |  |  |
| Item; Instruments Used; Serial Number; Calibration Validity Date. 1. 2. 3. |
| 20) Quantity Inspection (Detailed description of inspected quantity and assessment of quantity control): |  |
| The quantity is confirmed as per the following: - UNIT LOCAL CONTROL PANEL (LCP-PK-2205, S/N. B335201), Qty.: 1 - SETS RECTIFIER (EE-REC-2205A, S/N: 04919-1 & EE-REC-2205B, S/N: 04919-2), Qty.: 2 |  |
| 21) Packing Inspection (Detailed description of packing and suitability with the means of transport): |  |
| Packing was not ready at the time of inspection. Only the bottom part of the wooden box for rectifier was ready. |  |
| 22) Shipping Mark Inspection (Detailed description of marking on the packages): |  |
| Shipping mark was not ready during the inspection. |  |
| 23) Loading / Stuffing Inspection: |  |
| Weather condition: |  |
| Start of loading time: | Finish of loading time: |
| No. of container(s): |  |
| Seal No.(s): |  |
| Comments on Loading / Stuffing Inspection: |  |
| 24) Discrepancies (Detailed description of discrepancies observed during inspection): |  |
| - Discrepancies which found during inspection and already obviated: |  |
| - Discrepancies which are still remained: |  |
| Packing was not ready. |  |
| 25) Attachments (List of attached documents): |  |
| - Inspection and test report, and FAT certificate for the control panel - Rectifier Test report and Wiring and Terminal Strip for E.C. Package (PK-2205) - Photos |  |
| 26) Comments (Regarding inspection – if any): |  |
| 27) Photos (Photos taken at the time of inspection): |  |