| 1) Inspector Name: Mr. Masoud Khalili (on behalf of Mr. Amin Sharitkhah) Inspector Code: 1574 |  | 2) Inspection Date: 25/06/2025 |  |  |  | 3) Project Name (if any): |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4) Scope of Inspection Required: Visual, Quantity, document review, Packing & marking Inspection Notification No.: |  |  |  |  |  |  |  |
| 5) Inspection Address & Contact Info: Company Name: SESPI / CANDLE Address: Industry Avenue Seventh Street No. 5 - Bagnoli di Sopra - Padua Contact Name: Giovanni Celentano Phone Number/Mobile Number: E-mail Address: Giovanni.Celentano@sespi.it |  |  |  |  |  |  |  |
| 6) Inspection Place: Manufacturer Supplier Warehouse Port Customs Others Specify: |  |  |  |  |  |  |  |
| 7) Client/Buyer: SIRAF ENERGY INVESTMENT CO. |  |  |  | 8) Vendor/Sub-Vendor: PENDAR SESPI / CANDLE |  |  |  |
| 9) Goods as Per Purchasing Documents: - GRVE Tanks (Sodium Hypochlorite Storage and Degassing Vertical Conical Bottom Type Tank) ID 2500, TL-TL 7700 mm Qty. 2 |  |  |  |  |  |  |  |
| 10) Quality Inspection: |  |  |  |  |  |  |  |
| Visual | Dimensional check |  | Test |  | Doc’s Review |  |  |
| %100 Spot Check | %100 Spot Check |  | %100 Spot Check |  |  |  |  |
| Random No. of Items Checked: 2 | Random No. of Items Checked: 2 |  | Random No. of Items Checked: |  |  |  |  |
| 11) Quantity Inspection: |  |  |  |  |  |  |  |
| Tally | Weight |  | Volume |  | Length |  | Others (Specify) |
| %100 Spot Check | %100 Spot Check |  | %100 Spot Check |  | %100 Spot Check |  |  |
| Random No. of Items Checked: 2 | Random No. of Items Checked: |  | Random No. of Items Checked: |  | Random No. of Items Checked: |  |  |
| 12) Brief Description of Packing: Kind of Packing: Not ready Total Number of Packages: Total Net weight: Total Gross weight: |  |  | 13) Shipping Mark: Shipping mark was not ready during the inspection |  |  |  |  |
| 14) Means of Transport: Truck Vessel Air Rail Combined Shipment From: Via: To: |  |  |  |  |  |  |  |
| 15) Conclusion (Explain Briefly): Stage (Inspection of the goods in this visit is satisfactory. Goods are released for further inspection) Satisfactory (Inspection of the goods is satisfactory. Goods are released for shipment) Non-Conformity (Discrepancies observed. Goods could not be released) Abortive (Due to missing goods and/or documents, inspection could not be carried out) Inspection completed? No Yes When No, specify next insp. scope: |  |  |  |  |  |  |  |
| 16) Documents Used for Inspection: L/C No.:; No. of L/C Amendments:; P/I No.:. Tech. Spec. No.:; P/O No. / MR No.:; ITP No.: 1277-74002-SES-SC-4-QC-77000_C2. Drawing No.: 1277-74002-SES-DR-3-EME-23001_A12; Procedure No.:; Data Sheet No.: 1277-740002-SES-DS-4-EPP-10010_C2. Others:; PL:. Necessary Documents for Issuance of COI Has Been Collected: Yes No. |
| 17) Goods Inspected in Details: - GRVE Tanks (Sodium Hypochlorite Storage and Degassing Vertical Conical Bottom Type Tank) ID 2500, TL-TL 7700 mm Qty. 2 |  |  |  |  |  |  |  |
| 18) Order Completed? Yes No Comments (If any): |  |  |  |  |  |  |  |

| 19) Quality Inspection (Detailed description of quality inspection and assessment of quality control): |  |  |
| --- | --- | --- |
| - Visual inspection Since there was not possible to rotate the tank because of the big size, and the nameplate were on the top side of the tanks, it was not possible to check the nameplate. The items were identified based on the dimensional check and the vendor indication. The product was unused and new, and no defects were observed. Only a few spots of scratches on the painting were observed as shown in the following photos. However, as the goods have been in the warehouse for a long time, they are covered by a thin cover of dust. In addition, as it was not possible to rotate the tanks, it was not possible to check the bottom and top side of the tank accurately. These conditions made the visual inspection hard and should be considered in the evaluation. Tank# 2- A few spots of scratches on the painting Tank# 2 - A few spots of scratches on the painting Based on the vendor’s indication, the tanks will be washed before shipment and the legs will be disassembled and transported separately. No accessories were provided by the supplier to be inspected. - Dimension check Main dimensions (OD, total length, leg length, Flanges OD) of the tanks were measured and was aligned with the provided drawing. - Review of Documents Material certificates, Hydrostatic test report, visual & dimensional test report and nameplate document were provided by the supplier and reviewed. |  |  |
| 19-1) Marking on Goods as per specific requirements: |  |  |
| There was no marking or nameplate on the goods. |  |  |
| 19-2) Instruments Used (Meter, Slide Caliper, Gauge, …) and Calibration Code/Date: |  |  |
| Item; Instruments Used; Serial Number; Calibration Validity Date. 1; Meter; No calibration certificate was provided.. 2. 3. 4. 5. 6. |
| 20) Quantity Inspection (Detailed description of inspected quantity and assessment of quantity control): |  |
| The quantity of 2 GRVE tanks with S.S. Leg support is approved. |  |
| 21) Packing Inspection (Detailed description of packing and suitability with the means of transport): |  |
| Packing was not ready during the inspection. |  |
| 22) Shipping Mark Inspection (Detailed description of marking on the packages): |  |
| Shipping mark was not ready during the inspection. |  |
| 23) Loading / Stuffing Inspection: |  |
| Weather condition: |  |
| Start of loading time: | Finish of loading time: |
| No. of container(s): |  |
| Seal No.(s): |  |
| Comments on Loading / Stuffing Inspection: |  |
| 24) Discrepancies (Detailed description of discrepancies observed during inspection): |  |
| - Discrepancies which found during inspection and already obviated: |  |
| - Discrepancies which are still remained: |  |
| 1-Since there was not possible to rotate the tank because of the big size, and the nameplate were on the top side of the tanks, it was not possible to check the nameplate and some surfaces. The items were identified based on the dimensional check and the vendor indication. 2- A few spots of scratches on the painting were observed. Please refer to the photos in section 19 of inspection report. 3-No accessories were provided. 4-Packing was not ready. |  |
| 25) Attachments (List of attached documents): |  |
| Photos |  |
| 26) Comments (Regarding inspection – if any): |  |
| 27) Photos (Photos taken at the time of inspection): |  |