| 1) Inspector Name: Masoud Khalili (on behalf of Amin Sharitkhah) Inspector Code: 1574 |  | 2) Inspection Date: 04/07/2025 |  |  |  | 3) Project Name (if any): |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 4) Scope of Inspection Required: Visual, Packing, document review Inspection Notification No.: |  |  |  |  |  |  |  |
| 5) Inspection Address & Contact Info: Company Name: Sespi Address: Via Tre Venezie, 15, 26010 Casaletto Vaprio CR Contact Name: Giovanni Celentano, Phone Number/Mobile Number: (+39) 025063065 E-mail Address: giovanni.celentano@sespi.it |  |  |  |  |  |  |  |
| 6) Inspection Place: Manufacturer Supplier Warehouse Port Customs Others Specify: |  |  |  |  |  |  |  |
| 7) Client/Buyer: PENDAR |  |  |  | 8) Vendor/Sub-Vendor: Sespi |  |  |  |
| 9) Goods as Per Purchasing Documents: - UNIT LOCAL CONTROL PANEL (LCP-PK-2205, S/N. B335201), Qty.: 1 - SETS RECTIFIER (EE-REC-2205A & EE-REC-2205B), Qty.: 2 - Hydrogen Dilution Blowers B-2205 A/B (S/N: A.000032.21.01&02) Qty.: 2 |  |  |  |  |  |  |  |
| 10) Quality Inspection: |  |  |  |  |  |  |  |
| Visual | Dimensional check |  | Test |  | Doc’s Review |  |  |
| %100 Spot Check | %100 Spot Check |  | %100 Spot Check |  |  |  |  |
| Random No. of Items Checked: | Random No. of Items Checked: |  | Random No. of Items Checked: |  |  |  |  |
| 11) Quantity Inspection: |  |  |  |  |  |  |  |
| Tally | Weight |  | Volume |  | Length |  | Others (Specify) |
| %100 Spot Check | %100 Spot Check |  | %100 Spot Check |  | %100 Spot Check |  |  |
| Random No. of Items Checked: | Random No. of Items Checked: |  | Random No. of Items Checked: |  | Random No. of Items Checked: |  |  |
| 12) Brief Description of Packing: Wooden case with vacuumed cover “MIL-PRF-131L Class1” Kind of Packing: Wooden case Total Number of Packages: 3 Total Net weight: 3737 Total Gross weight: 4750 |  |  | 13) Shipping Mark: Shipping marks were not ready at the time of inspection. |  |  |  |  |
| 14) Means of Transport: Truck Vessel Air Rail Combined Shipment From: Via: To: |  |  |  |  |  |  |  |
| 15) Conclusion (Explain Briefly): Stage (Inspection of the goods in this visit is satisfactory. Goods are released for further inspection) Satisfactory (Inspection of the goods is satisfactory. Goods are released for shipment) Non-Conformity (Discrepancies observed. Goods could not be released) Abortive (Due to missing goods and/or documents, inspection could not be carried out) Inspection completed? No Yes When No, specify next insp. scope: |  |  |  |  |  |  |  |
| 16) Documents Used for Inspection: L/C No.:; No. of L/C Amendments:; P/I No.:. Tech. Spec. No.: 1277-74002-SES-LI-4-EEE-30002 1277-74002-SES-SP-4-EJJ-40002; P/O No. / MR No.:; ITP No.: 1277-74002-SES-SC-4-QC-77000. Drawing No.:; Procedure No.: 1277-74002-SES-PR-4-QC-77013 packing marking; Data Sheet No.: 1277-740002-SES-DS-4-EPP-10008_C6 Blower. Others:; PL:. Necessary Documents for Issuance of COI Has Been Collected: Yes No. |
| 17) Goods Inspected in Details: - UNIT LOCAL CONTROL PANEL (LCP-PK-2205, S/N. B335201), Qty.: 1 - SETS RECTIFIER (EE-REC-2205A, S/N: 04919-1 & EE-REC-2205B, S/N: 04919-2), Qty.: 2 - Hydrogen Dilution Blowers B-2205 A/B (S/N: A.000032.21.01&02) Qty.: 2 |  |  |  |  |  |  |  |
| 18) Order Completed? Yes No Comments (If any): |  |  |  |  |  |  |  |

| 19) Quality Inspection (Detailed description of quality inspection and assessment of quality control): |  |  |
| --- | --- | --- |
|  Visual & Dimensional Check All Products were identified based on the nameplates, project number and serial number. All the equipment was unused without any defect. Packing was a wooden case, and all the items were fixed in order to avoid any movements during transport. On the Blowers, some defects on the painting found such as below photos:  Review Certificate & Test Report Preliminary Packing list was provided by the vendor. As the vendor indicated it may have small changes in the final stage before shipping. |  |  |
| 19-1) Marking on Goods as per specific requirements: |  |  |
| Goods were identified based on nameplates. |  |  |
| 19-2) Instruments Used (Meter, Slide Caliper ,Gauge,…) and Calibration Code/Date: |  |  |
| Item; Instruments Used; Serial Number; Calibration Validity Date. 1. 2. 3. |
| 20) Quantity Inspection (Detailed description of inspected quantity and assessment of quantity control): |  |
| The quantity is confirmed as per the following: - UNIT LOCAL CONTROL PANEL (LCP-PK-2205, S/N. B335201), Qty.: 1 - SETS RECTIFIER (EE-REC-2205A, S/N: 04919-1 & EE-REC-2205B, S/N: 04919-2), Qty.: 2 - Hydrogen Dilution Blowers B-2205 A/B (S/N: A.000032.21.01&02) Qty.: 2 |  |
| 21) Packing Inspection (Detailed description of packing and suitability with the means of transport): |  |
| Packing is Wooden case with vacuumed cover “MIL-PRF-131L Class1” There are 3 wooden cases All the items were fixed in order to avoid any movements during transport Bags of absorbent salt (MIL D 3664 E 16U) inside the cover to absorb the humidity Note: Only packing of items 1, 2 and 6 of attached packing list was performed at this inspection place and inspected by inspector. Packing inspection of items 3 to 5 was not performed. |  |
| 22) Shipping Mark Inspection (Detailed description of marking on the packages): |  |
| Shipping mark was not ready during the inspection. |  |
| 23) Loading / Stuffing Inspection: |  |
| Weather condition: |  |
| Start of loading time: | Finish of loading time: |
| No. of container(s): |  |
| Seal No.(s): |  |
| Comments on Loading / Stuffing Inspection: |  |
| 24) Discrepancies (Detailed description of discrepancies observed during inspection): |  |
| - Discrepancies which found during inspection and already obviated: |  |
| - Discrepancies which are still remained: |  |
| 1- Only packing of items 1, 2 and 6 of attached packing list was performed at this inspection place and inspected by inspector. Packing inspection of items 3 to 5 was not performed. 2-Shipping mark was not ready at the time of inspection 3-On the Blowers, some defects on the painting found. Please refer to the photos in section 19 of inspection report. 4-The client’s approval on inspection notice 6 dated 25.05.2021 is needed. |  |
| 25) Attachments (List of attached documents): |  |
| - Photos - Packing list received from vendor |  |
| 26) Comments (Regarding inspection – if any): |  |
| 27) Photos (Photos taken at the time of inspection): |  |