## Packing List Cover(A)
PACKING LIST
Shipper / Exporter |  |  | Remarks
Consortium of Sazeh consultant and Jahanpars Eng. & Const. Co.
3rd floor, No. 8, 5th St. Ahmad Ghasir Ave., Tehran, 1513645311, Iran
Tel.: +9821-88556838~42
Fax.: +9821-88729726
CONSIGNEE / BILL TO
TO ORDER OF
BANK SEPAH KHALED SLAMBOLI BRANCH
NO. 184, 2ND FLOOR, GHAEM MAGHAM FARAHANI ST.,
DR. BEHESHTI AVE, TEHRAN – I.R. IRAN
P.O. BOX: 1586755318
NOTIFY PARTY
PERSIAN GULF BID BOLAND GAS TREATING COMPANY
5TH FLOOR. NO. 8, 5TH ALLEY, AHMAD GHASIR ST.
TEHRAN 1513645311 IRAN
TEL: (+9821)88703436, FAX: (+9821) 88703522
Loading Point |  | Discharge Point
Italy |  | Behbahan
Mark and numbers |  | Description of Goods | Quantity | Net Weight | Gross Weight | Measurement
(DETAILS ARE AS PER ATTACHED SHEETS)
PROJECT NAME | : | Persian Gulf Bid Boland Gas Treating Project (Package A)
P.O DESCRIPTION | : | 2 Years Spare Parts of Hydrogen Production Package-CO-109
P/O NO. | : | 38687901-411-PO-PK-0040S CH (Rev.0)
Packing | : | PL-411-0040S-SH-004
Vendor Sign & Stamp _________________________________________________

## Detailed Packing List(A)
DETAILED PACKING LIST
| Project No.:38687901 | [7 empty] | P/L Serial No.: PL-411-0040S-SH-004
| Project Name: Persian Gulf Bid Boland Gas Treating Project (Package A) | [7 empty] | Shipment No.: SHIP-411-0040S-SH-004
| Owner: Persian Gulf Bid Boland Gas Treating Company | [8 empty] | Date: 24-June-25
Destination: Behbahan - Iran
| PO. No.: 38687901-411-PO-PK-0040S CH (Rev.0) |  |  |  | PO Description: 2 Years Spare Parts of Hydrogen Production Package-CO-109 |  |  |  | Total Package No.: |  |  | 2
| Vendor's Name: Shanfari | [7 empty] | Packing Style : Cartoon Box
| POSITION NO. | PO / MTO Item NO. | ZONE NO. | DESCRIPTION | Unit | QTY | Net Weight (Kg) | Gross Weight (Kg) | Package No. | Dimensions L x W x H (meter) |  |  | Remark
| 1 | 76 | N/A | Sensor output interface terminal KCD2 SENSOR OUTPUT INTERFACE 1-CHANNEL 24VDC PLUS SWITCHED (PEPPERL + FUCHS GmbH) | pcs | 2 |  |  | 1 of 2 | 60 | 76 | 32 | KCD2-E2L-018358
| 2 | 78 | N/A | Power feed module KFD2 Power Feed Module KFD2-EB2(PEPPERL + FUCHS GmbH) | pcs | 2 | [6 empty] | KFD2-EB2-189783
| 3 | 79 | N/A | Solenoid driver connection EX2 Solenoid Driver KFD2-SL2-Ex2(PEPPERL + FUCHS GmbH) | pcs | 2 | [6 empty] | KFD2-SL2-EX2-70180149
| 4 | 80 | N/A | Solenoid driver connection Ex2.B Solenoid Driver KFD2-SL2-Ex2.B (PEPPERL + FUCHS GmbH) | pcs | 2 | [6 empty] | KFD2-SL2-EX2.B-184259
| 5 | 81 | N/A | Switch amplifier connection assembly Ex2 ISOLATING SWITCHING AMPLIFIER 2-CHANNEL 24VDC, RELAY OUTPUTS(PEPPERL + FUCHS GmbH) | pcs | 2 | [6 empty] | KCD2-SR-EX2-70112153
| 6 | 82 | N/A | Transmitter power supply SMART TRANSMITTER SUPPLY UNIT 2-CHANNEL 24VDC, 2/3 WIRE/(0)4-20mA 2-WIRE (PEPPERL + FUCHS GmbH) | pcs | 2 | [6 empty] | KFD2-STC5-EX2-203645
| 7 | 84 | N/A | End cap for power rail End Cap for Universal Power Rail UPR-E (PEPPERL + FUCHS GmbH) | pcs | 2 | [6 empty] | UPR-E-038035
| 8 | 86 | N/A | PB-Plug 90° 972 PB Connector, 90 Degree, with PG Socket SIMATIC DP, Connection plug for PROFIBUS up to 12 Mbit/s 90° cable outlet, 15.8x 72.2x 36.4 mm (WxHxD), Insulation displacement method FastConnect, With PG receptacle(SIEMENS AG) | pcs | 2 | [6 empty] | 6ES7972-0BB70-0XA0
| 9 | 87 | N/A | Power supply PS405 SIMATIC S7-400, POWER SUPPLY PS 405: 10A, WIDE RANGE, 24/48/60V DC, DC, 5V/10A, FOR REDUNDANT USE ATEX APPROBATION IDENTIFICATION (SIEMENS AG) | pcs | 2 | [6 empty] | 6ES7405-0KR02-0AA0
| 10 | 88 | N/A | Back Up Battry 3.6 | pcs | 2 | [6 empty] | 6ES791-0BA00
| 11 | 90 | N/A | Bus module for ET200M 40mm 6ES7195-7HB00-0XA0 (SIEMENS AG) | pcs | 2 | [6 empty] | 6ES7 195-7HB00-0XA0
| 12 | 91 | N/A | Bus module for ET200M 80mm 6ES7195-7HC00-0XA0 (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 195-7HC00-0XA0
| 13 | 92 | N/A | Digital input SM326 SIMATIC S7, DIGITAL INPUT SM 326, F-DI 24 X DC 24V, FAILSAFE DIGITAL INPUTS FOR SIMATIC S7 FAILSAFE SYSTEMS, WITH DIAGNOST. INTERRUPT, UP TO CATEGORY 4 (EN954-1)/ SIL3 (IEC61508)/PLE (ISO13849), 1 X 40 PIN (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 326-1BK02-0AB0
| 14 | 93 | N/A | Digital output SM 326 SIMATIC S7, DIGITAL OUTPUT SM326, F-DO10 X DC24V/2A PP, FAILSAFE DIGITAL OUTPUT, FOR SIMATIC S7F-SYSTEMS WITH DIAGNOSTIC INTERRUPT, LVV, 1 X 40 PIN |  | 2 | [6 empty] | 6ES7 326-2BF10-0AB0
| 15 | 94 | N/A | Analog input, SM336 SIMATIC S7, ANALOG INPUT SM336 6 AI; 15 BIT; FAILSAFE ANALOG INPUTS FOR SIMATIC SAFETY, WITH HART SUPPORT, UP TO CATEGORY 4 (EN954-1)/ SIL3 (IEC61508)/PLE (ISO13849), 1 X 20 PIN (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 336-4G E00-0AB0
| 16 | 95 | N/A | Digital input SM321 SIMATIC S7-300, DIGITAL INPUT SM 321, GALVANICALLY ISOLATED, 16 DI, DC 24V, 20 PIN, ROCESS INTERRUPT, DIAGNOSTICS, FIT FOR ISOCHRONE MODE |  | 2 | [6 empty] | 6ES7 321-1BH02-0AA0
| 17 | 96 | N/A | Digital output SM322 SIMATIC S7/PCS7, SM 322 DIGITAL OUTPUT MODULE, 16 DO, DC 24 V / 0,5A, CAPABLE OF DIAGNOSTICS, WIRE BREAK DETECTION, TO 0 AND 1 SIGNAL, 1 X 40-PIN INTERFACE MODULE IM 153-X HF NECESSARY (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 322-8BH10-0AB0
18 | 18 | 97 | N/A | Analog output SM332 SIMATIC S7-300, ANALOG OUTPUT SM 332, OPTICALLY ISOLATED, 8 AO, U/I; DIAGNOSTICS; RESOLUTION 11/12 BITS, 40 PIN, REMOVE/INSERT W. ACTIVE, BACKPLANE BUS (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 322-5HF00-0AB0
| 19 | 98 | N/A | Analog input SM331 SIMATIC S7-300, ANALOG INPUT SM331, OPTICALLY ISOLATED 8AI, +/-5/10V, 1-5 V, +/-20MA 0/4 BIS 20MA, 16 BIT (55 MS) SINGLES GROUPING (50V COM.) 40-PIN (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 331-7NF00-0AB0
| 20 | 99 | N/A | Y-link for connection of single-channel DP slaves to S7-400H SIMATIC S7-400H, Y-Link for connection of single-channel DP slaves to S7-400H & AS 410H (SIEMENS AG) |  | 2 | [6 empty] | 6ES7197-1LA12-0XA0
| 21 | 100 | N/A | Mounting rail for ET200https://support.industry.siemens.com/forum/ww/en/posts/et200sp-mounting-rail-s7-1500-input-modules/236581/?page=0&pageSize=10 (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 195-1GA00-0XA0
| 22 | 101 | N/A | CP341 communications processor with RS422SIMATIC S7-300, CP341 COMMUNICATION PROCESSOR WITH RS422/485 INTERFACE, INCL. CONFIG. PACKAGE ON CD (SIEMENS AG) |  | 2 | [6 empty] | 6ES7 341-1CH02-0AE0
| 23 | 102 | N/A | Red. DI16 MTA interface module for redundant connection of ET200MSIMATIC PCS7, red. DI16 MTA connection module for redundant connection of the ET200M module 6ES7321-7BH01-0AB0 16 channels, individually secured redundant supply with protection and LED displays Measuring range: 24 VDC (SIEMENS AG) |  | 2 | [6 empty] | 6ES7650-1AC11-3XX0
| 24 | 103 | N/A | Red. DO MTA interface module for redundant conection of ET200MIMATIC PCS7, red. DO 16 relay MTA, interface module for redundant connection of the ET200M DO 16 module 6ES7322-8BH10-0AB0 16 channels, relay output MTA, redundant supply with fusing, LED displays output: 24-150 V DC/120-230 V AC (SIEMENS AG) |  | 2 | [6 empty] | 6ES7650-1AM30-3XX0
| 25 | 104 | N/A | Red.AI8 MTA interface module for redundant conection of ET200MSIMATIC PCS7, red. AI8 MTA, interface module for redundant connection of ET200M Analog input modules 6ES7331-7NF00-0AB0 and 6ES7331-7NF10-0AB0, 8 channels, fused individually redundant supply with fusing, LED displayed Measuring range: 0/4-20 mA, 20 mA, 1-5 V, +/- 5 V or +/- 10 V |  | 2 | [6 empty] | 6ES7650-1AH62-5XX0
| 26 | 105 | N/A | Red.AO8 MTA interface module for redundant conection of ET200MSIMATIC PCS7, red. AO8 MTA, interface module for redundant connection of ET200M Analog output module 6ES7332-5HF00-0AB0, 8 channels, redundant supply with LED display and fusing output range: 4-20 mA (SIEMENS AG) |  | 2 | [6 empty] | 6ES7650-1AB51-2XX0
| 27 | 106 | N/A | Red. F-DI MTA interface module for redundant conection of ET200MSIMATIC PCS7, red. F-DI MTA interface module for redundant connection of the ET200M fail-safe module 6ES7326-1BK02-0AB0 12/24 channels, individually fused, redundant power supply with fusing, LED displays Measuring range: 24 V DC (SIEMENS AG) |  | 2 | [6 empty] | 6ES7650-1AL11-6XX0
| 28 | 107 | N/A | Red.F-DO10 MTA interface module for redundant conection of ET200MSIMATIC PCS7, red. F-DO10 mTA interface module for redundant connection of the ET200M F module 6ES7326-2BF10-0AB0, 10 channels, individually fused, redundant power supply with fusing, LED displays, output range 24 V DC (SIEMENS AG) |  | 2 | [6 empty] | 6ES7650-1AK11-7XX0
| 29 | 108 | N/A | Red. F-AI16 MTA interface module for redundant conection of ET200MSIMATIC PCS7, red. F-AI6 MTA, interface module for redundant connection of the ET200M F-AI6 HART module 6ES7336-4GE00-0AB0, 6 channels with electr. current limitation redundant power supply with fusing, LED displays, Measuring range: 0/4-20 mA (SIEMENS AG) |  | 2 | [6 empty] | 6ES7650-1AA52-2XX0
[5 empty] | Total | 58 | 28.5 | 30 | 1 of 2
| Vendor Representative |  |  |  |  | Purchaser Representative
SAZEH CONSULTANTS
LG ENGINEERING & CONSTRUCTION CORP.
SAZEH CONSULTANTS
LG ENGINEERING & CONSTRUCTION CORP.

## Detailed Packing List(A) (2)
DETAILED PACKING LIST
Project No.:38687901 | [7 empty] | P/L Serial No.: PL-411-0040S-SH-004
Project Name: Persian Gulf Bid Boland Gas Treating Project (Package A) | [7 empty] | Shipment No.: SHIP-411-0040S-SH-004
Owner: Persian Gulf Bid Boland Gas Treating Company | [8 empty] | Date: 24-June-25
Destination: Behbahan - Iran
PO. No.: 38687901-411-PO-PK-0040S CH (Rev.0) |  |  |  | PO Description: 2 Years Spare Parts of Hydrogen Production Package-CO-109 |  |  |  | Total Package No.: |  | 2
Vendor's Name: Shanfari | [7 empty] | Packing Style : Cartoon Box
POSITION NO. | PO / MTO Item NO. | ZONE NO. | DESCRIPTION | Unit | QTY | Net Weight (Kg) | Gross Weight (Kg) | Package No. | Dimensions L x W x H (meter) |  |  | Remark
7 |  | N/A | Power rail UPR (PEPPERL + FUCHS GmbH) | pcs | 2 |  |  |  | 203 | 10 | 6
|  |  |  | Total | 2 | 3.5 | 4 | 2 of 2 |  |  |  | UPR-03-119265
Vendor Representative |  |  |  |  | Purchaser Representative
SAZEH CONSULTANTS
LG ENGINEERING & CONSTRUCTION CORP.
SAZEH CONSULTANTS
LG ENGINEERING & CONSTRUCTION CORP.